## AQ-210 v2.1.1.3-233
AQ-200 IED IEC101/IEC104 IOA LIST
NOTE: THIS MAP CAN BE DIFFERENT FROM THE ONE USED BY YOUR DEVICE! TO MAKE SURE YOU HAVE A MAP THAT MATCHES WITH YOUR DEVICE, GET IT FROM THE AQS CONFIGURATION FILE (TOOLS -> COMMUNICATION -> IEC101 / 104 MAP)
Single points
IOA | IOA2 byte | Description
65537 | 1 | Local/Remote switch
65538 | 2 | DI1
65539 | 3 | DI2
65540 | 4 | DI3
65541 | 5 | DI4
65542 | 6 | DI5
65543 | 7 | DI6
65544 | 8 | DI7
65545 | 9 | DI8
65546 | 10 | DI9
65547 | 11 | DI10
65548 | 12 | DI11
65549 | 13 | DI12
65550 | 14 | DI13
65551 | 15 | DI14
65552 | 16 | DI15
65553 | 17 | DI16
65554 | 18 | DI17
65555 | 19 | DI18
65556 | 20 | DI19
65557 | 21 | DI20
65558 | 22 | DI21
65559 | 23 | DI22
65560 | 24 | DI23
65561 | 25 | DI24
65562 | 26 | DI25
65563 | 27 | DI26
65564 | 28 | DI27
65565 | 29 | DI28
65566 | 30 | DI29
65567 | 31 | DI30
65568 | 32 | DI31
65569 | 33 | DI32
65570 | 34 | DI33
65571 | 35 | DI34
65572 | 36 | DI35
65573 | 37 | DI36
65574 | 38 | DI37
65575 | 39 | DI38
65576 | 40 | DI39
65577 | 41 | DI40
65578 | 42 | DI41
65579 | 43 | DI42
65580 | 44 | DI43
65581 | 45 | DI44
65582 | 46 | DI45
65583 | 47 | DI46
65584 | 48 | DI47
65585 | 49 | DI48
65586 | 50 | DI49
65587 | 51 | DI50
65588 | 52 | DI51
65589 | 53 | I> START (General)
65590 | 54 | I> TRIP (General)
65591 | 55 | I>> START (General)
65592 | 56 | I>> TRIP (General)
65593 | 57 | I>>> START (General)
65594 | 58 | I>>> TRIP (General)
65595 | 59 | I>>>> START (General)
65596 | 60 | I>>>> TRIP (General)
65597 | 61 | I0> START
65598 | 62 | I0> TRIP
65599 | 63 | I0>> START
65600 | 64 | I0>> TRIP
65601 | 65 | I0>>> START
65602 | 66 | I0>>> TRIP
65603 | 67 | I0>>>> START
65604 | 68 | I0>>>> TRIP
65605 | 69 | Ih> START
65606 | 70 | Ih>> START
65607 | 71 | Ih>>> START
65608 | 72 | Ih>>>> START
65609 | 73 | I2> START
65610 | 74 | I2> TRIP
65611 | 75 | I2>> START
65612 | 76 | I2>> TRIP
65613 | 77 | I2>>> START
65614 | 78 | I2>>> TRIP
65615 | 79 | I2>>>> START
65616 | 80 | I2>>>> TRIP
65617 | 81 | CLP condition
65618 | 82 | CLP condition
65619 | 83 | CBFP condition
65620 | 84 | CBFP condition
65621 | 85 | Operate for IEC61850
65622 | 86 | AR1 Request on
65623 | 87 | AR2 Request on
65624 | 88 | AR3 Request on
65625 | 89 | AR4 Request on
65626 | 90 | AR5 Request on
65627 | 91 | AR Shot 1 Running
65628 | 92 | AR Shot 2 Running
65629 | 93 | AR Shot 3 Running
65630 | 94 | AR Shot 4 Running
65631 | 95 | AR Shot 5 Running
65632 | 96 | AR Sequence finished
65633 | 97 | AR Final Trip
65634 | 98 | ARC time on
65635 | 99 | Reclaim time on
65636 | 100 | NTP quality for events
65637 | 101 | AR Lockout after successfull sequence
65638 | 102 | AR Operation Inhibit
65639 | 103 | AR Locked
65640 | 104 | TF> Alarm1
65641 | 105 | TF> Trip
65642 | 106 | Internal Relay Fault active
65643 | 107 | I0d> TRIP
65644 | 108 | CBW Alarm 1 act
65645 | 109 | CBW Alarm 2 act
65646 | 110 | CTS1 ALARM
65647 | 111 | Logical Output 1
65648 | 112 | Logical Output 2
65649 | 113 | Logical Output 3
65650 | 114 | Logical Output 4
65651 | 115 | Logical Output 5
65652 | 116 | Logical Output 6
65653 | 117 | Logical Output 7
65654 | 118 | Logical Output 8
65655 | 119 | Logical Output 9
65656 | 120 | Logical Output 10
65657 | 121 | Logical Output 11
65658 | 122 | Logical Output 12
65659 | 123 | Logical Output 13
65660 | 124 | Logical Output 14
65661 | 125 | Logical Output 15
65662 | 126 | Logical Output 16
65663 | 127 | Logical Output 17
65664 | 128 | Logical Output 18
65665 | 129 | Logical Output 19
65666 | 130 | Logical Output 20
65667 | 131 | Logical Output 21
65668 | 132 | Logical Output 22
65669 | 133 | Logical Output 23
65670 | 134 | Logical Output 24
65671 | 135 | Logical Output 25
65672 | 136 | Logical Output 26
65673 | 137 | Logical Output 27
65674 | 138 | Logical Output 28
65675 | 139 | Logical Output 29
65676 | 140 | Logical Output 30
65677 | 141 | Logical Output 31
65678 | 142 | Logical Output 32
65679 | 143 | Logical Input 1
65680 | 144 | Logical Input 2
65681 | 145 | Logical Input 3
65682 | 146 | Logical Input 4
65683 | 147 | Logical Input 5
65684 | 148 | Logical Input 6
65685 | 149 | Logical Input 7
65686 | 150 | Logical Input 8
65687 | 151 | Logical Input 9
65688 | 152 | Logical Input 10
65689 | 153 | Logical Input 11
65690 | 154 | Logical Input 12
65691 | 155 | Logical Input 13
65692 | 156 | Logical Input 14
65693 | 157 | Logical Input 15
65694 | 158 | Logical Input 16
65695 | 159 | Logical Input 17
65696 | 160 | Logical Input 18
65697 | 161 | Logical Input 19
65698 | 162 | Logical Input 20
65699 | 163 | Logical Input 21
65700 | 164 | Logical Input 22
65701 | 165 | Logical Input 23
65702 | 166 | Logical Input 24
65703 | 167 | Logical Input 25
65704 | 168 | Logical Input 26
65705 | 169 | Logical Input 27
65706 | 170 | Logical Input 28
65707 | 171 | Logical Input 29
65708 | 172 | Logical Input 30
65709 | 173 | Logical Input 31
65710 | 174 | Logical Input 32
65711 | 175 | Object1 Open Block Input
65712 | 176 | Object1 Close Block Input
65713 | 177 | Object2 Open Block Input
65714 | 178 | Object2 Close Block Input
65715 | 179 | Object3 Open Block Input
65716 | 180 | Object3 Close Block Input
65717 | 181 | Object4 Open Block Input
65718 | 182 | Object4 Close Block Input
65719 | 183 | Object5 Open Block Input
65720 | 184 | Object5 Close Block Input
65721 | 185 | Object6 Open Block Input
65722 | 186 | Object6 Close Block Input
65723 | 187 | Object7 Open Block Input
65724 | 188 | Object7 Close Block Input
65725 | 189 | Object8 Open Block Input
65726 | 190 | Object8 Close Block Input
65727 | 191 | Object9 Open Block Input
65728 | 192 | Object9 Close Block Input
65729 | 193 | Object10 Open Block Input
65730 | 194 | Object10 Close Block Input
65731 | 195 | Idir> START
65732 | 196 | Idir> TRIP
65733 | 197 | Idir>> START
65734 | 198 | Idir>> TRIP
65735 | 199 | Idir>>> START
65736 | 200 | Idir>>> TRIP
65737 | 201 | Idir>>>> START
65738 | 202 | Idir>>>> TRIP
65739 | 203 | N> One start remaining (Alarm)
65740 | 204 | N> INHIBIT ON (General)
65741 | 205 | TM> Trip
65742 | 206 | TM> Restart Inh.
65743 | 207 | ISt> START
65744 | 208 | ISt> Set time TRIP
65745 | 209 | Motor stopped
65746 | 210 | Motor starting
65747 | 211 | Motor running
65748 | 212 | Motor stalled
65749 | 213 | Missing phase
65750 | 214 | Load Normal
65751 | 215 | Overloading
65752 | 216 | High overcurrent
65753 | 217 | I< START
65754 | 218 | I< TRIP
65755 | 219 | Im> START
65756 | 220 | Im> TRIP
65757 | 221 | U> START
65758 | 222 | U> TRIP
65759 | 223 | U>> START
65760 | 224 | U>>> START
65761 | 225 | U>>> TRIP
65762 | 226 | U>>>> START
65763 | 227 | U>>>> TRIP
65764 | 228 | U>> TRIP
65765 | 229 | U0> START
65766 | 230 | U0> TRIP
65767 | 231 | U0>> START
65768 | 232 | U0>> TRIP
65769 | 233 | U0>>> START
65770 | 234 | U0>>> TRIP
65771 | 235 | U0>>>> START
65772 | 236 | U0>>>> TRIP
65773 | 237 | U< START
65774 | 238 | U< TRIP
65775 | 239 | U<< START
65776 | 240 | U<< TRIP
65777 | 241 | U<<< START
65778 | 242 | U<<< TRIP
65779 | 243 | U<<<< START
65780 | 244 | U<<<< TRIP
65781 | 245 | VTS Start
65782 | 246 | VTS Fail Alarm Bus
65783 | 247 | VTS Fail Alarm Line
65784 | 248 | SOTF Active
65785 | 249 | SOTF Trip
65786 | 250 | I0dir> START (General)
65787 | 251 | I0dir> TRIP (General)
65788 | 252 | I0dir>> START (General)
65789 | 253 | I0dir>> TRIP (General)
65790 | 254 | I0dir>>> START (General)
65791 | 255 | I0dir>>> TRIP (General)
65792 | 256 | I0dir>>>> START (General)
65793 | 257 | I0dir>>>> TRIP (General)
65794 | 258 | P> START
65795 | 259 | P> TRIP
65796 | 260 | Prev> START
65797 | 261 | Prev> TRIP
65798 | 262 | P< START
65799 | 263 | P< TRIP
65800 | 264 | f> START
65801 | 265 | f> TRIP
65802 | 266 | f>> START
65803 | 267 | f>> TRIP
65804 | 268 | f>>> START
65805 | 269 | f>>> TRIP
65806 | 270 | f>>>> START
65807 | 271 | f>>>> TRIP
65808 | 272 | f< START
65809 | 273 | f< TRIP
65810 | 274 | f<< START
65811 | 275 | f<< TRIP
65812 | 276 | f<<< START
65813 | 277 | f<<< TRIP
65814 | 278 | f<<<< START
65815 | 279 | f<<<< TRIP
65816 | 280 | I/I0 Arc> Zone1 TRIP
65817 | 281 | I/I0 Arc> Zone2 TRIP
65818 | 282 | I/I0 Arc> Zone3 TRIP
65819 | 283 | I/I0 Arc> Zone4 TRIP
65820 | 284 | PCS1 Switch Status
65821 | 285 | PCS2 Switch Status
65822 | 286 | PCS3 Switch Status
65823 | 287 | PCS4 Switch Status
65824 | 288 | PCS5 Switch Status
65825 | 289 | GOOSE IN 1
65826 | 290 | GOOSE IN 2
65827 | 291 | GOOSE IN 3
65828 | 292 | GOOSE IN 4
65829 | 293 | GOOSE IN 5
65830 | 294 | GOOSE IN 6
65831 | 295 | GOOSE IN 7
65832 | 296 | GOOSE IN 8
65833 | 297 | GOOSE IN 9
65834 | 298 | GOOSE IN 10
65835 | 299 | GOOSE IN 11
65836 | 300 | GOOSE IN 12
65837 | 301 | GOOSE IN 13
65838 | 302 | GOOSE IN 14
65839 | 303 | GOOSE IN 15
65840 | 304 | GOOSE IN 16
65841 | 305 | GOOSE IN 17
65842 | 306 | GOOSE IN 18
65843 | 307 | GOOSE IN 19
65844 | 308 | GOOSE IN 20
65845 | 309 | GOOSE IN 21
65846 | 310 | GOOSE IN 22
65847 | 311 | GOOSE IN 23
65848 | 312 | GOOSE IN 24
65849 | 313 | GOOSE IN 25
65850 | 314 | GOOSE IN 26
65851 | 315 | GOOSE IN 27
65852 | 316 | GOOSE IN 28
65853 | 317 | GOOSE IN 29
65854 | 318 | GOOSE IN 30
65855 | 319 | GOOSE IN 31
65856 | 320 | GOOSE IN 32
65857 | 321 | GOOSE IN 33
65858 | 322 | GOOSE IN 34
65859 | 323 | GOOSE IN 35
65860 | 324 | GOOSE IN 36
65861 | 325 | GOOSE IN 37
65862 | 326 | GOOSE IN 38
65863 | 327 | GOOSE IN 39
65864 | 328 | GOOSE IN 40
65865 | 329 | GOOSE IN 41
65866 | 330 | GOOSE IN 42
65867 | 331 | GOOSE IN 43
65868 | 332 | GOOSE IN 44
65869 | 333 | GOOSE IN 45
65870 | 334 | GOOSE IN 46
65871 | 335 | GOOSE IN 47
65872 | 336 | GOOSE IN 48
65873 | 337 | GOOSE IN 49
65874 | 338 | GOOSE IN 50
65875 | 339 | GOOSE IN 51
65876 | 340 | GOOSE IN 52
65877 | 341 | GOOSE IN 53
65878 | 342 | GOOSE IN 54
65879 | 343 | GOOSE IN 55
65880 | 344 | GOOSE IN 56
65881 | 345 | GOOSE IN 57
65882 | 346 | GOOSE IN 58
65883 | 347 | GOOSE IN 59
65884 | 348 | GOOSE IN 60
65885 | 349 | GOOSE IN 61
65886 | 350 | GOOSE IN 62
65887 | 351 | GOOSE IN 63
65888 | 352 | GOOSE IN 64
65889 | 353 | SYN1 Condition
65890 | 354 | SYN2 Condition
65891 | 355 | SYN3 Condition
65892 | 356 | I0Int> IEF DETECTED
65893 | 357 | I0Int> TRIP
65894 | 358 | Final Trip Object1
65895 | 359 | Final Trip Object2
65896 | 360 | Final Trip Object3
65897 | 361 | Final Trip Object4
65898 | 362 | Final Trip Object5
65899 | 363 | Recordings in memory
65900 | 364 | Fault locator condition
65901 | 365 | AR On
65902 | 366 | U1/2 >/< START
65903 | 367 | U1/2 >/< TRIP
65904 | 368 | U1/2 >>/<< START
65905 | 369 | U1/2 >>/<< TRIP
65906 | 370 | U1/2 >>>/<<< START
65907 | 371 | U1/2 >>>/<<< TRIP
65908 | 372 | U1/2 >>>>/<<<< START
65909 | 373 | U1/2 >>>>/<<<< TRIP
65910 | 374 | PF< START
65911 | 375 | PF< TRIP
65912 | 376 | V/Hz(1) > START
65913 | 377 | V/Hz(1) > TRIP
65914 | 378 | I> (50) Alarm
65915 | 379 | I0> (50N) Alarm
65916 | 380 | Idir> (67) Alarm
65917 | 381 | I0dir> (67N) Alarm
65918 | 382 | I0int> (67NT) Alarm FWD
65919 | 383 | I0int> (67NT) Alarm REV
65920 | 384 | U< (27) Alarm
65921 | 385 | U< (27) No voltage
65922 | 386 | U0> (59N) Alarm
65923 | 387 | FL (21FL) Triggered
65924 | 388 | AR In Progress
65925 | 389 | Force SG change
65926 | 390 | Idb> BIAS TRIP
65927 | 391 | ALARM 1
65928 | 392 | ALARM 2
65929 | 393 | ALARM 3
65930 | 394 | ALARM 4
65931 | 395 | ALARM 5
65932 | 396 | ALARM 6
65933 | 397 | ALARM 7
65934 | 398 | ALARM 8
65935 | 399 | ALARM 9
65936 | 400 | ALARM 10
65937 | 401 | ALARM 11
65938 | 402 | ALARM 12
65939 | 403 | ALARM 13
65940 | 404 | ALARM 14
65941 | 405 | ALARM 15
65942 | 406 | ALARM 16
65943 | 407 | ALARM 17
65944 | 408 | ALARM 18
65945 | 409 | ALARM 19
65946 | 410 | ALARM 20
65947 | 411 | ALARM 21
65948 | 412 | ALARM 22
65949 | 413 | ALARM 23
65950 | 414 | ALARM 24
65951 | 415 | ALARM 25
65952 | 416 | ALARM 26
65953 | 417 | ALARM 27
65954 | 418 | ALARM 28
65955 | 419 | ALARM 29
65956 | 420 | ALARM 30
65957 | 421 | ALARM 31
65958 | 422 | ALARM 32
65959 | 423 | ALARM 33
65960 | 424 | ALARM 34
65961 | 425 | ALARM 35
65962 | 426 | ALARM 36
65963 | 427 | ALARM 37
65964 | 428 | ALARM 38
65965 | 429 | ALARM 39
65966 | 430 | ALARM 40
65967 | 431 | ALARM 41
65968 | 432 | ALARM 42
65969 | 433 | ALARM 43
65970 | 434 | ALARM 44
65971 | 435 | ALARM 45
65972 | 436 | ALARM 46
65973 | 437 | ALARM 47
65974 | 438 | ALARM 48
65975 | 439 | ALARM 49
65976 | 440 | ALARM 50
65977 | 441 | ALARM 51
65978 | 442 | ALARM 52
65979 | 443 | ALARM 53
65980 | 444 | ALARM 54
65981 | 445 | ALARM 55
65982 | 446 | ALARM 56
65983 | 447 | ALARM 57
65984 | 448 | ALARM 58
65985 | 449 | ALARM 59
65986 | 450 | ALARM 60
65987 | 451 | ALARM 61
65988 | 452 | ALARM 62
65989 | 453 | ALARM 63
65990 | 454 | ALARM 64
65991 | 455 | Configuration changed
65992 | 456 | Control mode
65993 | 457 | Enable input
65994 | 458 | U0> RECL Active
65995 | 459 | U0> RECL CLOSE
65996 | 460 | U0> RECL BLKU0
65997 | 461 | AVR Tap in highlimit
65998 | 462 | AVR Tap in lowlimit
Double points
IOA | IOA2 | Description
196609 | 8193 | Object1 Breaker Status
196610 | 8194 | Object2 Breaker Status
196611 | 8195 | Object3 Breaker Status
196612 | 8196 | Object4 Breaker Status
196613 | 8197 | Object5 Breaker Status
196614 | 8198 | Object6 Breaker Status
196615 | 8199 | Object7 Breaker Status
196616 | 8200 | Object8 Breaker Status
196617 | 8201 | Object9 Breaker Status
196618 | 8202 | Object10 Breaker Status
196619 | 8203 | Ind.1 Object Status
196620 | 8204 | Ind.2 Object Status
196621 | 8205 | Ind.3 Object Status
196622 | 8206 | Ind.4 Object Status
196623 | 8207 | Ind.5 Object Status
196624 | 8208 | Object1 Withdraw Status
196625 | 8209 | Object2 Withdraw Status
196626 | 8210 | Object3 Withdraw Status
196627 | 8211 | Object4 Withdraw Status
196628 | 8212 | Object5 Withdraw Status
196629 | 8213 | Object6 Withdraw Status
196630 | 8214 | Object7 Withdraw Status
196631 | 8215 | Object8 Withdraw Status
196632 | 8216 | Object9 Withdraw Status
196633 | 8217 | Object10 Withdraw Status
Measured values
IOA | IOA2 | Description
851969 | 16385 | Pri.Pha.curr.IL1
851970 | 16386 | Pha.angle IL1
851971 | 16387 | Pri.Pha.curr.IL2
851972 | 16388 | Pha.angle IL2
851973 | 16389 | Pri.Pha.curr.IL3
851974 | 16390 | Pha.angle IL3
851975 | 16391 | Alg f avg
851976 | 16392 | Pri.Res.curr.I01
851977 | 16393 | Pri.Res.curr.I02
851978 | 16394 | System volt UL1 mag
851979 | 16395 | System volt UL1 ang
851980 | 16396 | System volt UL2 mag
851981 | 16397 | System volt UL2 ang
851982 | 16398 | System volt UL3 mag
851983 | 16399 | System volt UL3 ang
851984 | 16400 | System volt UL12 mag
851985 | 16401 | System volt UL12 ang
851986 | 16402 | System volt UL23 mag
851987 | 16403 | System volt UL23 ang
851988 | 16404 | System volt UL31 mag
851989 | 16405 | System volt UL31 ang
851990 | 16406 | System volt U0 mag
851991 | 16407 | System volt U0 ang
851992 | 16408 | POW1 3PH Active power (P)
851993 | 16409 | POW1 3PH Reactive power (Q)
851994 | 16410 | POW1 3PH Apparent power (S)
851995 | 16411 | POW1 3PH Cos(phi)
851996 | 16412 | Recorded fault value
851997 | 16413 | Recorded fault value
851998 | 16414 | Recorded fault value
851999 | 16415 | Recorded fault value
852000 | 16416 | Recorded fault value
852001 | 16417 | Recorded fault value
852002 | 16418 | Recorded fault value
852003 | 16419 | Recorded fault value
852004 | 16420 | Recorded fault value
852005 | 16421 | Recorded fault value
852006 | 16422 | Recorded fault value
852007 | 16423 | Recorded fault value
852008 | 16424 | Last fault reactance
852009 | 16425 | Last fault distance
852010 | 16426 | System volt U3 mag
852011 | 16427 | System volt U4 mag
852012 | 16428 | Pri.Pha.curr.I''L1
852013 | 16429 | Pha.angle I''L1
852014 | 16430 | Pri.Pha.curr.I''L2
852015 | 16431 | Pha.angle I''L2
852016 | 16432 | Pri.Pha.curr.I''L3
852017 | 16433 | Pha.angle I''L3
852018 | 16434 | S1 Measurement(Raw)
852019 | 16435 | S2 Measurement(Raw)
852020 | 16436 | S3 Measurement(Raw)
852021 | 16437 | S4 Measurement(Raw)
852022 | 16438 | S5 Measurement(Raw)
852023 | 16439 | S6 Measurement(Raw)
852024 | 16440 | S7 Measurement(Raw)
852025 | 16441 | S8 Measurement(Raw)
852026 | 16442 | S9 Measurement(Raw)
852027 | 16443 | S10 Measurement(Raw)
852028 | 16444 | S11 Measurement(Raw)
852029 | 16445 | S12 Measurement(Raw)
852030 | 16446 | S13 Measurement(Raw)
852031 | 16447 | S14 Measurement(Raw)
852032 | 16448 | S15 Measurement(Raw)
852033 | 16449 | S16 Measurement(Raw)
852034 | 16450 | S7 Measurement mA
852035 | 16451 | S8 Measurement mA
852036 | 16452 | S15 Measurement mA
852037 | 16453 | S16 Measurement mA
852038 | 16454 | Voltage now
852039 | 16455 | Voltage difference to set target
852040 | 16456 | POW1 3PH Tan(phi)
852041 | 16457 | POW1 L1 Active power (P)
852042 | 16458 | POW1 L1 Reactive power (Q)
852043 | 16459 | POW1 L1 Apparent power (S)
852044 | 16460 | POW1 L1 Cos(phi)
852045 | 16461 | POW1 L1 Tan(phi)
852046 | 16462 | POW1 L2 Active power (P)
852047 | 16463 | POW1 L2 Reactive power (Q)
852048 | 16464 | POW1 L2 Apparent power (S)
852049 | 16465 | POW1 L2 Cos(phi)
852050 | 16466 | POW1 L2 Tan(phi)
852051 | 16467 | POW1 L3 Active power (P)
852052 | 16468 | POW1 L3 Reactive power (Q)
852053 | 16469 | POW1 L3 Apparent power (S)
852054 | 16470 | POW1 L3 Cos(phi)
852055 | 16471 | POW1 L3 Tan(phi)
852056 | 16472 | MBIO ModA Ch0 Input value
852057 | 16473 | MBIO ModA Ch1 Input value
852058 | 16474 | MBIO ModA Ch2 Input value
852059 | 16475 | MBIO ModA Ch3 Input value
852060 | 16476 | MBIO ModA Ch4 Input value
852061 | 16477 | MBIO ModA Ch5 Input value
852062 | 16478 | MBIO ModA Ch6 Input value
852063 | 16479 | MBIO ModA Ch7 Input value
852064 | 16480 | MBIO ModB Ch0 Input value
852065 | 16481 | MBIO ModB Ch1 Input value
852066 | 16482 | MBIO ModB Ch2 Input value
852067 | 16483 | MBIO ModB Ch3 Input value
852068 | 16484 | MBIO ModB Ch4 Input value
852069 | 16485 | MBIO ModB Ch5 Input value
852070 | 16486 | MBIO ModB Ch6 Input value
852071 | 16487 | MBIO ModB Ch7 Input value
852072 | 16488 | MBIO ModC Ch0 Input value
852073 | 16489 | MBIO ModC Ch1 Input value
852074 | 16490 | MBIO ModC Ch2 Input value
852075 | 16491 | MBIO ModC Ch3 Input value
852076 | 16492 | MBIO ModC Ch4 Input value
852077 | 16493 | MBIO ModC Ch5 Input value
852078 | 16494 | MBIO ModC Ch6 Input value
852079 | 16495 | MBIO ModC Ch7 Input value
852080 | 16496 | System volt U0 mag(%)
852081 | 16497 | Curve1 Output
852082 | 16498 | Curve2 Output
852083 | 16499 | Curve3 Output
852084 | 16500 | Curve4 Output
Integrated totals
IOA | IOA2 | Description
983041 | 24577 | Internal Relay Fault status
983042 | 24578 | Export Active Energy (P) kWh
983043 | 24579 | Import Active Energy (P) kWh
983044 | 24580 | Imported (Q) while Export (P) kVarh
983045 | 24581 | Imported (Q) while Import (P) kVarh
983046 | 24582 | Recordings in memory
983047 | 24583 | Max amount of recordings
983048 | 24584 | Active setting group
983049 | 24585 | Tap location now (- 0 +)
983050 | 24586 | Absolute tap location
983051 | 24587 | DI1 Counter
983052 | 24588 | DI2 Counter
983053 | 24589 | DI3 Counter
983054 | 24590 | DI4 Counter
983055 | 24591 | DI5 Counter
983056 | 24592 | DI6 Counter
983057 | 24593 | DI7 Counter
983058 | 24594 | DI8 Counter
983059 | 24595 | DI9 Counter
983060 | 24596 | DI10 Counter
983061 | 24597 | DI11 Counter
983062 | 24598 | DI12 Counter
983063 | 24599 | DI13 Counter
983064 | 24600 | DI14 Counter
983065 | 24601 | DI15 Counter
983066 | 24602 | DI16 Counter
983067 | 24603 | DI17 Counter
983068 | 24604 | DI18 Counter
983069 | 24605 | DI19 Counter
983070 | 24606 | DI20 Counter
983071 | 24607 | DI21 Counter
983072 | 24608 | DI22 Counter
983073 | 24609 | DI23 Counter
983074 | 24610 | DI24 Counter
983075 | 24611 | DI25 Counter
983076 | 24612 | DI26 Counter
983077 | 24613 | DI27 Counter
983078 | 24614 | DI28 Counter
983079 | 24615 | DI29 Counter
983080 | 24616 | DI30 Counter
983081 | 24617 | DI31 Counter
983082 | 24618 | DI32 Counter
983083 | 24619 | DI33 Counter
983084 | 24620 | DI34 Counter
983085 | 24621 | DI35 Counter
983086 | 24622 | DI36 Counter
983087 | 24623 | DI37 Counter
983088 | 24624 | DI38 Counter
983089 | 24625 | DI39 Counter
983090 | 24626 | DI40 Counter
983091 | 24627 | DI41 Counter
983092 | 24628 | DI42 Counter
983093 | 24629 | DI43 Counter
983094 | 24630 | DI44 Counter
983095 | 24631 | DI45 Counter
983096 | 24632 | DI46 Counter
983097 | 24633 | DI47 Counter
983098 | 24634 | DI48 Counter
983099 | 24635 | DI49 Counter
983100 | 24636 | DI50 Counter
983101 | 24637 | DI51 Counter
Single commands
IOA | IOA2 | Description
2949121 | 32769 | Reset Latches
2949122 | 32767 | Logical Input 1
2949123 | 32765 | Logical Input 2
2949124 | 32763 | Logical Input 3
2949125 | 32761 | Logical Input 4
2949126 | 32759 | Logical Input 5
2949127 | 32757 | Logical Input 6
2949128 | 32755 | Logical Input 7
2949129 | 32753 | Logical Input 8
2949130 | 32751 | Logical Input 9
2949131 | 32749 | Logical Input 10
2949132 | 32747 | Logical Input 11
2949133 | 32745 | Logical Input 12
2949134 | 32743 | Logical Input 13
2949135 | 32741 | Logical Input 14
2949136 | 32739 | Logical Input 15
2949137 | 32737 | Logical Input 16
2949138 | 32735 | Logical Input 17
2949139 | 32733 | Logical Input 18
2949140 | 32731 | Logical Input 19
2949141 | 32729 | Logical Input 20
2949142 | 32727 | Logical Input 21
2949143 | 32725 | Logical Input 22
2949144 | 32723 | Logical Input 23
2949145 | 32721 | Logical Input 24
2949146 | 32719 | Logical Input 25
2949147 | 32717 | Logical Input 26
2949148 | 32715 | Logical Input 27
2949149 | 32713 | Logical Input 28
2949150 | 32711 | Logical Input 29
2949151 | 32709 | Logical Input 30
2949152 | 32707 | Logical Input 31
2949153 | 32705 | Logical Input 32
2949154 | 32703 | PCS1 Switch Status
2949155 | 32701 | PCS2 Switch Status
2949156 | 32699 | PCS3 Switch Status
2949157 | 32697 | PCS4 Switch Status
2949158 | 32695 | PCS5 Switch Status
2949159 | 32693 | AVR to Manual control
Double commands
IOA | IOA2 | Description
3014657 | 40961 | OBJECT1 CTRL
3014658 | 40962 | OBJECT2 CTRL
3014659 | 40963 | OBJECT3 CTRL
3014660 | 40964 | OBJECT4 CTRL
3014661 | 40965 | OBJECT5 CTRL
3014662 | 40966 | OBJECT6 CTRL
3014663 | 40967 | OBJECT7 CTRL
3014664 | 40968 | OBJECT8 CTRL
3014665 | 40969 | OBJECT9 CTRL
3014666 | 40970 | OBJECT10 CTRL

## AQ-250 v2.5.7.1-303-AP2
AQ-200 IED IEC101/IEC104 IOA LIST
NOTE: THIS MAP CAN BE DIFFERENT FROM THE ONE USED BY YOUR DEVICE! TO MAKE SURE YOU HAVE A MAP THAT MATCHES WITH YOUR DEVICE, GET IT FROM THE AQS CONFIGURATION FILE (TOOLS -> COMMUNICATION -> IEC101 / 104 MAP)
#Single points
IOA | GI | GI_Group | Description
65537 | 0 | 0 | Local/Remote switch
65538 | 0 | 0 | DI1
65539 | 0 | 0 | DI2
65540 | 0 | 0 | DI3
65541 | 0 | 0 | DI4
65542 | 0 | 0 | DI5
65543 | 0 | 0 | DI6
65544 | 0 | 0 | DI7
65545 | 0 | 0 | DI8
65546 | 0 | 0 | DI9
65547 | 0 | 0 | DI10
65548 | 0 | 0 | DI11
65549 | 0 | 0 | DI12
65550 | 0 | 0 | DI13
65551 | 0 | 0 | DI14
65552 | 0 | 0 | DI15
65553 | 0 | 0 | DI16
65554 | 0 | 0 | DI17
65555 | 0 | 0 | DI18
65556 | 0 | 0 | DI19
65557 | 0 | 0 | DI20
65558 | 0 | 0 | DI21
65559 | 0 | 0 | DI22
65560 | 0 | 0 | DI23
65561 | 0 | 0 | DI24
65562 | 0 | 0 | DI25
65563 | 0 | 0 | DI26
65564 | 0 | 0 | DI27
65565 | 0 | 0 | DI28
65566 | 0 | 0 | DI29
65567 | 0 | 0 | DI30
65568 | 0 | 0 | DI31
65569 | 0 | 0 | DI32
65570 | 0 | 0 | DI33
65571 | 0 | 0 | DI34
65572 | 0 | 0 | DI35
65573 | 0 | 0 | DI36
65574 | 0 | 0 | DI37
65575 | 0 | 0 | DI38
65576 | 0 | 0 | DI39
65577 | 0 | 0 | DI40
65578 | 0 | 0 | DI41
65579 | 0 | 0 | DI42
65580 | 0 | 0 | DI43
65581 | 0 | 0 | DI44
65582 | 0 | 0 | DI45
65583 | 0 | 0 | DI46
65584 | 0 | 0 | DI47
65585 | 0 | 0 | DI48
65586 | 0 | 0 | DI49
65587 | 0 | 0 | DI50
65588 | 0 | 0 | DI51
65589 | 0 | 0 | I> START (General)
65590 | 0 | 0 | I> TRIP (General)
65591 | 0 | 0 | I>> START (General)
65592 | 0 | 0 | I>> TRIP (General)
65593 | 0 | 0 | I>>> START (General)
65594 | 0 | 0 | I>>> TRIP (General)
65595 | 0 | 0 | I>>>> START (General)
65596 | 0 | 0 | I>>>> TRIP (General)
65597 | 0 | 0 | I0> START
65598 | 0 | 0 | I0> TRIP
65599 | 0 | 0 | I0>> START
65600 | 0 | 0 | I0>> TRIP
65601 | 0 | 0 | I0>>> START
65602 | 0 | 0 | I0>>> TRIP
65603 | 0 | 0 | I0>>>> START
65604 | 0 | 0 | I0>>>> TRIP
65605 | 0 | 0 | Ih> START
65606 | 0 | 0 | Ih>> START
65607 | 0 | 0 | Ih>>> START
65608 | 0 | 0 | Ih>>>> START
65609 | 0 | 0 | I2> START
65610 | 0 | 0 | I2> TRIP
65611 | 0 | 0 | I2>> START
65612 | 0 | 0 | I2>> TRIP
65613 | 0 | 0 | I2>>> START
65614 | 0 | 0 | I2>>> TRIP
65615 | 0 | 0 | I2>>>> START
65616 | 0 | 0 | I2>>>> TRIP
65617 | 0 | 0 | CLP condition
65618 | 0 | 0 | CLP condition
65619 | 0 | 0 | CBFP condition
65620 | 0 | 0 | CBFP condition
65621 | 0 | 0 | Operate for IEC61850
65622 | 0 | 0 | AR1 Request On
65623 | 0 | 0 | AR2 Request On
65624 | 0 | 0 | AR3 Request On
65625 | 0 | 0 | AR4 Request On
65626 | 0 | 0 | AR5 Request On
65627 | 0 | 0 | AR Shot 1 Running
65628 | 0 | 0 | AR Shot 2 Running
65629 | 0 | 0 | AR Shot 3 Running
65630 | 0 | 0 | AR Shot 4 Running
65631 | 0 | 0 | AR Shot 5 Running
65632 | 0 | 0 | AR Sequence finished
65633 | 0 | 0 | AR Final Trip
65634 | 0 | 0 | ARC time on
65635 | 0 | 0 | Reclaim time on
65636 | 0 | 0 | NTP quality
65637 | 0 | 0 | AR Lockout after successfull sequence
65638 | 0 | 0 | AR Operation Inhibit
65639 | 0 | 0 | AR Locked
65640 | 0 | 0 | TF> Alarm1
65641 | 0 | 0 | TF> Trip
65642 | 0 | 0 | Internal Relay Fault active
65643 | 0 | 0 | I0d> TRIP
65644 | 0 | 0 | CBW Alarm 1 act
65645 | 0 | 0 | CBW Alarm 2 act
65646 | 0 | 0 | CTS1 ALARM
65647 | 0 | 0 | Logical Output 1
65648 | 0 | 0 | Logical Output 2
65649 | 0 | 0 | Logical Output 3
65650 | 0 | 0 | Logical Output 4
65651 | 0 | 0 | Logical Output 5
65652 | 0 | 0 | Logical Output 6
65653 | 0 | 0 | Logical Output 7
65654 | 0 | 0 | Logical Output 8
65655 | 0 | 0 | Logical Output 9
65656 | 0 | 0 | Logical Output 10
65657 | 0 | 0 | Logical Output 11
65658 | 0 | 0 | Logical Output 12
65659 | 0 | 0 | Logical Output 13
65660 | 0 | 0 | Logical Output 14
65661 | 0 | 0 | Logical Output 15
65662 | 0 | 0 | Logical Output 16
65663 | 0 | 0 | Logical Output 17
65664 | 0 | 0 | Logical Output 18
65665 | 0 | 0 | Logical Output 19
65666 | 0 | 0 | Logical Output 20
65667 | 0 | 0 | Logical Output 21
65668 | 0 | 0 | Logical Output 22
65669 | 0 | 0 | Logical Output 23
65670 | 0 | 0 | Logical Output 24
65671 | 0 | 0 | Logical Output 25
65672 | 0 | 0 | Logical Output 26
65673 | 0 | 0 | Logical Output 27
65674 | 0 | 0 | Logical Output 28
65675 | 0 | 0 | Logical Output 29
65676 | 0 | 0 | Logical Output 30
65677 | 0 | 0 | Logical Output 31
65678 | 0 | 0 | Logical Output 32
65679 | 0 | 0 | Logical Input 1
65680 | 0 | 0 | Logical Input 2
65681 | 0 | 0 | Logical Input 3
65682 | 0 | 0 | Logical Input 4
65683 | 0 | 0 | Logical Input 5
65684 | 0 | 0 | Logical Input 6
65685 | 0 | 0 | Logical Input 7
65686 | 0 | 0 | Logical Input 8
65687 | 0 | 0 | Logical Input 9
65688 | 0 | 0 | Logical Input 10
65689 | 0 | 0 | Logical Input 11
65690 | 0 | 0 | Logical Input 12
65691 | 0 | 0 | Logical Input 13
65692 | 0 | 0 | Logical Input 14
65693 | 0 | 0 | Logical Input 15
65694 | 0 | 0 | Logical Input 16
65695 | 0 | 0 | Logical Input 17
65696 | 0 | 0 | Logical Input 18
65697 | 0 | 0 | Logical Input 19
65698 | 0 | 0 | Logical Input 20
65699 | 0 | 0 | Logical Input 21
65700 | 0 | 0 | Logical Input 22
65701 | 0 | 0 | Logical Input 23
65702 | 0 | 0 | Logical Input 24
65703 | 0 | 0 | Logical Input 25
65704 | 0 | 0 | Logical Input 26
65705 | 0 | 0 | Logical Input 27
65706 | 0 | 0 | Logical Input 28
65707 | 0 | 0 | Logical Input 29
65708 | 0 | 0 | Logical Input 30
65709 | 0 | 0 | Logical Input 31
65710 | 0 | 0 | Logical Input 32
65711 | 0 | 0 | Object1 Open Enabled
65712 | 0 | 0 | Object1 Close Enabled
65713 | 0 | 0 | Object2 Open Enabled
65714 | 0 | 0 | Object2 Close Enabled
65715 | 0 | 0 | Object3 Open Enabled
65716 | 0 | 0 | Object3 Close Enabled
65717 | 0 | 0 | Object4 Open Enabled
65718 | 0 | 0 | Object4 Close Enabled
65719 | 0 | 0 | Object5 Open Enabled
65720 | 0 | 0 | Object5 Close Enabled
65721 | 0 | 0 | Object6 Open Enabled
65722 | 0 | 0 | Object6 Close Enabled
65723 | 0 | 0 | Object7 Open Enabled
65724 | 0 | 0 | Object7 Close Enabled
65725 | 0 | 0 | Object8 Open Enabled
65726 | 0 | 0 | Object8 Close Enabled
65727 | 0 | 0 | Object9 Open Enabled
65728 | 0 | 0 | Object9 Close Enabled
65729 | 0 | 0 | Object10 Open Enabled
65730 | 0 | 0 | Object10 Close Enabled
65731 | 0 | 0 | Idir> START
65732 | 0 | 0 | Idir> TRIP
65733 | 0 | 0 | Idir>> START
65734 | 0 | 0 | Idir>> TRIP
65735 | 0 | 0 | Idir>>> START
65736 | 0 | 0 | Idir>>> TRIP
65737 | 0 | 0 | Idir>>>> START
65738 | 0 | 0 | Idir>>>> TRIP
65739 | 0 | 0 | N> One start remaining (Alarm)
65740 | 0 | 0 | N> INHIBIT ON (General)
65741 | 0 | 0 | TM> Trip
65742 | 0 | 0 | TM> Restart Inh.
65743 | 0 | 0 | ISt> START
65744 | 0 | 0 | ISt> Set time TRIP
65745 | 0 | 0 | Motor stopped
65746 | 0 | 0 | Motor starting
65747 | 0 | 0 | Motor running
65748 | 0 | 0 | Motor stalled
65749 | 0 | 0 | Missing phase
65750 | 0 | 0 | Load normal
65751 | 0 | 0 | Overloading
65752 | 0 | 0 | High overcurrent
65753 | 0 | 0 | I< START
65754 | 0 | 0 | I< TRIP
65755 | 0 | 0 | Im> START
65756 | 0 | 0 | Im> TRIP
65757 | 0 | 0 | U> START
65758 | 0 | 0 | U> TRIP
65759 | 0 | 0 | U>> START
65760 | 0 | 0 | U>>> START
65761 | 0 | 0 | U>>> TRIP
65762 | 0 | 0 | U>>>> START
65763 | 0 | 0 | U>>>> TRIP
65764 | 0 | 0 | U>> TRIP
65765 | 0 | 0 | U0> START
65766 | 0 | 0 | U0> TRIP
65767 | 0 | 0 | U0>> START
65768 | 0 | 0 | U0>> TRIP
65769 | 0 | 0 | U0>>> START
65770 | 0 | 0 | U0>>> TRIP
65771 | 0 | 0 | U0>>>> START
65772 | 0 | 0 | U0>>>> TRIP
65773 | 0 | 0 | U< START
65774 | 0 | 0 | U< TRIP
65775 | 0 | 0 | U<< START
65776 | 0 | 0 | U<< TRIP
65777 | 0 | 0 | U<<< START
65778 | 0 | 0 | U<<< TRIP
65779 | 0 | 0 | U<<<< START
65780 | 0 | 0 | U<<<< TRIP
65781 | 0 | 0 | VTS Start
65782 | 0 | 0 | VTS Fail Alarm Line
65783 | 0 | 0 | VTS Fail Alarm Bus
65784 | 0 | 0 | SOTF Active
65785 | 0 | 0 | SOTF Trip
65786 | 0 | 0 | I0dir> START (General)
65787 | 0 | 0 | I0dir> TRIP (General)
65788 | 0 | 0 | I0dir>> START (General)
65789 | 0 | 0 | I0dir>> TRIP (General)
65790 | 0 | 0 | I0dir>>> START (General)
65791 | 0 | 0 | I0dir>>> TRIP (General)
65792 | 0 | 0 | I0dir>>>> START (General)
65793 | 0 | 0 | I0dir>>>> TRIP (General)
65794 | 0 | 0 | P> START (OBSOLETE)
65795 | 0 | 0 | P> TRIP (OBSOLETE)
65796 | 0 | 0 | Prev> START (OBSOLETE)
65797 | 0 | 0 | Prev> TRIP (OBSOLETE)
65798 | 0 | 0 | P< START (OBSOLETE)
65799 | 0 | 0 | P< TRIP (OBSOLETE)
65800 | 0 | 0 | f> START
65801 | 0 | 0 | f> TRIP
65802 | 0 | 0 | f>> START
65803 | 0 | 0 | f>> TRIP
65804 | 0 | 0 | f>>> START
65805 | 0 | 0 | f>>> TRIP
65806 | 0 | 0 | f>>>> START
65807 | 0 | 0 | f>>>> TRIP
65808 | 0 | 0 | f< START
65809 | 0 | 0 | f< TRIP
65810 | 0 | 0 | f<< START
65811 | 0 | 0 | f<< TRIP
65812 | 0 | 0 | f<<< START
65813 | 0 | 0 | f<<< TRIP
65814 | 0 | 0 | f<<<< START
65815 | 0 | 0 | f<<<< TRIP
65816 | 0 | 0 | I/I0 Arc> Zone1 TRIP
65817 | 0 | 0 | I/I0 Arc> Zone2 TRIP
65818 | 0 | 0 | I/I0 Arc> Zone3 TRIP
65819 | 0 | 0 | I/I0 Arc> Zone4 TRIP
65820 | 0 | 0 | PCS1 Switch Status
65821 | 0 | 0 | PCS2 Switch Status
65822 | 0 | 0 | PCS3 Switch Status
65823 | 0 | 0 | PCS4 Switch Status
65824 | 0 | 0 | PCS5 Switch Status
65825 | 0 | 0 | GOOSE IN 1 boolean value
65826 | 0 | 0 | GOOSE IN 2 boolean value
65827 | 0 | 0 | GOOSE IN 3 boolean value
65828 | 0 | 0 | GOOSE IN 4 boolean value
65829 | 0 | 0 | GOOSE IN 5 boolean value
65830 | 0 | 0 | GOOSE IN 6 boolean value
65831 | 0 | 0 | GOOSE IN 7 boolean value
65832 | 0 | 0 | GOOSE IN 8 boolean value
65833 | 0 | 0 | GOOSE IN 9 boolean value
65834 | 0 | 0 | GOOSE IN 10 boolean value
65835 | 0 | 0 | GOOSE IN 11 boolean value
65836 | 0 | 0 | GOOSE IN 12 boolean value
65837 | 0 | 0 | GOOSE IN 13 boolean value
65838 | 0 | 0 | GOOSE IN 14 boolean value
65839 | 0 | 0 | GOOSE IN 15 boolean value
65840 | 0 | 0 | GOOSE IN 16 boolean value
65841 | 0 | 0 | GOOSE IN 17 boolean value
65842 | 0 | 0 | GOOSE IN 18 boolean value
65843 | 0 | 0 | GOOSE IN 19 boolean value
65844 | 0 | 0 | GOOSE IN 20 boolean value
65845 | 0 | 0 | GOOSE IN 21 boolean value
65846 | 0 | 0 | GOOSE IN 22 boolean value
65847 | 0 | 0 | GOOSE IN 23 boolean value
65848 | 0 | 0 | GOOSE IN 24 boolean value
65849 | 0 | 0 | GOOSE IN 25 boolean value
65850 | 0 | 0 | GOOSE IN 26 boolean value
65851 | 0 | 0 | GOOSE IN 27 boolean value
65852 | 0 | 0 | GOOSE IN 28 boolean value
65853 | 0 | 0 | GOOSE IN 29 boolean value
65854 | 0 | 0 | GOOSE IN 30 boolean value
65855 | 0 | 0 | GOOSE IN 31 boolean value
65856 | 0 | 0 | GOOSE IN 32 boolean value
65857 | 0 | 0 | GOOSE IN 33 boolean value
65858 | 0 | 0 | GOOSE IN 34 boolean value
65859 | 0 | 0 | GOOSE IN 35 boolean value
65860 | 0 | 0 | GOOSE IN 36 boolean value
65861 | 0 | 0 | GOOSE IN 37 boolean value
65862 | 0 | 0 | GOOSE IN 38 boolean value
65863 | 0 | 0 | GOOSE IN 39 boolean value
65864 | 0 | 0 | GOOSE IN 40 boolean value
65865 | 0 | 0 | GOOSE IN 41 boolean value
65866 | 0 | 0 | GOOSE IN 42 boolean value
65867 | 0 | 0 | GOOSE IN 43 boolean value
65868 | 0 | 0 | GOOSE IN 44 boolean value
65869 | 0 | 0 | GOOSE IN 45 boolean value
65870 | 0 | 0 | GOOSE IN 46 boolean value
65871 | 0 | 0 | GOOSE IN 47 boolean value
65872 | 0 | 0 | GOOSE IN 48 boolean value
65873 | 0 | 0 | GOOSE IN 49 boolean value
65874 | 0 | 0 | GOOSE IN 50 boolean value
65875 | 0 | 0 | GOOSE IN 51 boolean value
65876 | 0 | 0 | GOOSE IN 52 boolean value
65877 | 0 | 0 | GOOSE IN 53 boolean value
65878 | 0 | 0 | GOOSE IN 54 boolean value
65879 | 0 | 0 | GOOSE IN 55 boolean value
65880 | 0 | 0 | GOOSE IN 56 boolean value
65881 | 0 | 0 | GOOSE IN 57 boolean value
65882 | 0 | 0 | GOOSE IN 58 boolean value
65883 | 0 | 0 | GOOSE IN 59 boolean value
65884 | 0 | 0 | GOOSE IN 60 boolean value
65885 | 0 | 0 | GOOSE IN 61 boolean value
65886 | 0 | 0 | GOOSE IN 62 boolean value
65887 | 0 | 0 | GOOSE IN 63 boolean value
65888 | 0 | 0 | GOOSE IN 64 boolean value
65889 | 0 | 0 | SYN1 Condition
65890 | 0 | 0 | SYN2 Condition
65891 | 0 | 0 | SYN3 Condition
65892 | 0 | 0 | I0Int> IEF DETECTED
65893 | 0 | 0 | I0Int> TRIP
65894 | 0 | 0 | Final Trip Object1
65895 | 0 | 0 | Final Trip Object2
65896 | 0 | 0 | Final Trip Object3
65897 | 0 | 0 | Final Trip Object4
65898 | 0 | 0 | Final Trip Object5
65899 | 0 | 0 | Recordings in memory
65900 | 0 | 0 | Fault locator condition
65901 | 0 | 0 | AR On
65902 | 0 | 0 | U1/2 >/< START
65903 | 0 | 0 | U1/2 >/< TRIP
65904 | 0 | 0 | U1/2 >>/<< START
65905 | 0 | 0 | U1/2 >>/<< TRIP
65906 | 0 | 0 | U1/2 >>>/<<< START
65907 | 0 | 0 | U1/2 >>>/<<< TRIP
65908 | 0 | 0 | U1/2 >>>>/<<<< START
65909 | 0 | 0 | U1/2 >>>>/<<<< TRIP
65910 | 0 | 0 | PF< START
65911 | 0 | 0 | PF< TRIP
65912 | 0 | 0 | V/Hz(1) > START
65913 | 0 | 0 | V/Hz(1) > TRIP
65914 | 0 | 0 | I> (50) Alarm
65915 | 0 | 0 | I0> (50N) Alarm
65916 | 0 | 0 | Idir> (67) Alarm
65917 | 0 | 0 | I0dir> (67N) Alarm
65918 | 0 | 0 | I0int> (67NT) Alarm FWD
65919 | 0 | 0 | I0int> (67NT) Alarm REV
65920 | 0 | 0 | U< (27) Alarm
65921 | 0 | 0 | U< (27) No voltage
65922 | 0 | 0 | U0> (59N) Alarm
65923 | 0 | 0 | FL (21FL) Triggered
65924 | 0 | 0 | AR In Progress
65925 | 0 | 0 | Force setting group change
65926 | 0 | 0 | Idb> BIAS TRIP
65927 | 0 | 0 | ALARM 1
65928 | 0 | 0 | ALARM 2
65929 | 0 | 0 | ALARM 3
65930 | 0 | 0 | ALARM 4
65931 | 0 | 0 | ALARM 5
65932 | 0 | 0 | ALARM 6
65933 | 0 | 0 | ALARM 7
65934 | 0 | 0 | ALARM 8
65935 | 0 | 0 | ALARM 9
65936 | 0 | 0 | ALARM 10
65937 | 0 | 0 | ALARM 11
65938 | 0 | 0 | ALARM 12
65939 | 0 | 0 | ALARM 13
65940 | 0 | 0 | ALARM 14
65941 | 0 | 0 | ALARM 15
65942 | 0 | 0 | ALARM 16
65943 | 0 | 0 | ALARM 17
65944 | 0 | 0 | ALARM 18
65945 | 0 | 0 | ALARM 19
65946 | 0 | 0 | ALARM 20
65947 | 0 | 0 | ALARM 21
65948 | 0 | 0 | ALARM 22
65949 | 0 | 0 | ALARM 23
65950 | 0 | 0 | ALARM 24
65951 | 0 | 0 | ALARM 25
65952 | 0 | 0 | ALARM 26
65953 | 0 | 0 | ALARM 27
65954 | 0 | 0 | ALARM 28
65955 | 0 | 0 | ALARM 29
65956 | 0 | 0 | ALARM 30
65957 | 0 | 0 | ALARM 31
65958 | 0 | 0 | ALARM 32
65959 | 0 | 0 | ALARM 33
65960 | 0 | 0 | ALARM 34
65961 | 0 | 0 | ALARM 35
65962 | 0 | 0 | ALARM 36
65963 | 0 | 0 | ALARM 37
65964 | 0 | 0 | ALARM 38
65965 | 0 | 0 | ALARM 39
65966 | 0 | 0 | ALARM 40
65967 | 0 | 0 | ALARM 41
65968 | 0 | 0 | ALARM 42
65969 | 0 | 0 | ALARM 43
65970 | 0 | 0 | ALARM 44
65971 | 0 | 0 | ALARM 45
65972 | 0 | 0 | ALARM 46
65973 | 0 | 0 | ALARM 47
65974 | 0 | 0 | ALARM 48
65975 | 0 | 0 | ALARM 49
65976 | 0 | 0 | ALARM 50
65977 | 0 | 0 | ALARM 51
65978 | 0 | 0 | ALARM 52
65979 | 0 | 0 | ALARM 53
65980 | 0 | 0 | ALARM 54
65981 | 0 | 0 | ALARM 55
65982 | 0 | 0 | ALARM 56
65983 | 0 | 0 | ALARM 57
65984 | 0 | 0 | ALARM 58
65985 | 0 | 0 | ALARM 59
65986 | 0 | 0 | ALARM 60
65987 | 0 | 0 | ALARM 61
65988 | 0 | 0 | ALARM 62
65989 | 0 | 0 | ALARM 63
65990 | 0 | 0 | ALARM 64
65991 | 0 | 0 | Configuration changed
65992 | 0 | 0 | Control mode
65993 | 0 | 0 | U0> RECL Blocked
65994 | 0 | 0 | U0> RECL Active
65995 | 0 | 0 | U0> RECL CLOSE
65996 | 0 | 0 | U0> RECL BLKU0
65997 | 0 | 0 | AVR Tap in highlimit
65998 | 0 | 0 | AVR Tap in lowlimit
65999 | 0 | 0 | Idi> NOBIAS TRIP
66000 | 0 | 0 | Q< START
66001 | 0 | 0 | Q< TRIP
66002 | 0 | 0 | TM> Alarm1
66003 | 0 | 0 | TM> Alarm2
66004 | 0 | 0 | GSYN Blocked
66005 | 0 | 0 | GSYN Running
66006 | 0 | 0 | GSYN Increase Voltage
66007 | 0 | 0 | GSYN Decrease Voltage
66008 | 0 | 0 | GSYN Increase Frequency
66009 | 0 | 0 | GSYN Decrease Frequency
66010 | 0 | 0 | GSYN Breaker Close Pulse
66011 | 0 | 0 | GSYN Long Sync Time
66012 | 0 | 0 | GMAG AVR Mode
66013 | 0 | 0 | GMAG FCR Mode
66014 | 0 | 0 | GMAG MVAR Mode
66015 | 0 | 0 | GMAG PF Mode
66016 | 0 | 0 | GMAG Field Breaker is closed
66017 | 0 | 0 | GMAG Excitation Off
66018 | 0 | 0 | GMAG Field Breaker is open
66019 | 0 | 0 | GMAG Synchronised
66020 | 0 | 0 | GMAG Islandmode
66021 | 0 | 0 | GMAG Test mode on
66022 | 0 | 0 | GMAG Reset On
66023 | 0 | 0 | GMAG Excitation run order
66024 | 0 | 0 | GMAG Overriding control
66025 | 0 | 0 | GMAG Increase MVar PF
66026 | 0 | 0 | GMAG Decrease MVar PF
66027 | 0 | 0 | GMAG New reference start
66028 | 0 | 0 | GMAG GB is closed
66029 | 0 | 0 | GMAG Field breaker is open Gen breaker is Closed
66030 | 0 | 0 | GMAG Following line volt
66031 | 0 | 0 | GMAG Test square enabled
66032 | 0 | 0 | GMAG Reactive power unloaded
66033 | 0 | 0 | GMAG AVR Start Ref
66034 | 0 | 0 | GMAG FCR Start Ref
66035 | 0 | 0 | GMAG Excitation On
66036 | 0 | 0 | GMAG Field current limiter active
66037 | 0 | 0 | GMAG VHZ limit active
66038 | 0 | 0 | GMAG Under excitation limiter active
66039 | 0 | 0 | GMAG Stator current limiter overexcited active
66040 | 0 | 0 | GMAG Stator current limiter underexcited active
66041 | 0 | 0 | GMAG High active current
66042 | 0 | 0 | GMAG Instantaneous field current limiter
66043 | 0 | 0 | GMAG Overcurrent
66044 | 0 | 0 | GMAG Low measured voltage
66045 | 0 | 0 | GMAG Phase retard
66046 | 0 | 0 | GMAG Field flashing
66047 | 0 | 0 | GMAG Long field flashing
66048 | 0 | 0 | GMAG Low Q Error
66049 | 0 | 0 | GMAG Field breaker does not open
66050 | 0 | 0 | GMAG Disturbed mode
66051 | 0 | 0 | GMAG Disturbed mode pulse
66052 | 0 | 0 | GMAG AVR ref on low limit
66053 | 0 | 0 | GMAG AVR ref on high limit
66054 | 0 | 0 | GMAG FCR ref on low limit
66055 | 0 | 0 | GMAG FCR ref on high limit
66056 | 0 | 0 | GMAG Mvar ref on highlimit
66057 | 0 | 0 | GMAG Mvar ref on lowlimit
66058 | 0 | 0 | GMAG PF ref on highlimit
66059 | 0 | 0 | GMAG PF ref on lowlimit
66060 | 0 | 0 | GMAG Reset and excitation off
66061 | 0 | 0 | GMAG Low supply voltage
66062 | 0 | 0 | GMAG IGBT shorted
66063 | 0 | 0 | GMAG PWM Enabled
66064 | 0 | 0 | GMAG PWM AC1 On
66065 | 0 | 0 | GMAG PWM DC1 On
66066 | 0 | 0 | GMAG Rectifier trip
66067 | 0 | 0 | GMAG Bridge1 temperature high
66068 | 0 | 0 | GMAG Bridge2 temperature high
66069 | 0 | 0 | GMAG Diode fault
66070 | 0 | 0 | GMAG Bridge 1 DI1 Signal
66071 | 0 | 0 | GMAG Bridge 1 DI2 Signal
66072 | 0 | 0 | GMAG Bridge 1 DI3 Signal
66073 | 0 | 0 | GMAG Bridge 1 DI4 Signal
66074 | 0 | 0 | GMAG Bridge 1 DI5 Signal
66075 | 0 | 0 | GMAG Bridge 1 DI6 Signal
66076 | 0 | 0 | GMAG Bridge 1 DI7 Signal
66077 | 0 | 0 | GMAG Bridge 1 DI8 Signal
66078 | 0 | 0 | IPW> START (General)
66079 | 0 | 0 | IPW> START (Phase A)
66080 | 0 | 0 | IPW> START (Phase B)
66081 | 0 | 0 | IPW> START (Phase C)
66082 | 0 | 0 | IPW> TRIP (General)
66083 | 0 | 0 | IPW> TRIP (Phase A)
66084 | 0 | 0 | IPW> TRIP (Phase B)
66085 | 0 | 0 | IPW> TRIP (Phase C)
66086 | 0 | 0 | IPW>> START (General)
66087 | 0 | 0 | IPW>> START (Phase A)
66088 | 0 | 0 | IPW>> START (Phase B)
66089 | 0 | 0 | IPW>> START (Phase C)
66090 | 0 | 0 | IPW>> TRIP (General)
66091 | 0 | 0 | IPW>> TRIP (Phase A)
66092 | 0 | 0 | IPW>> TRIP (Phase B)
66093 | 0 | 0 | IPW>> TRIP (Phase C)
66094 | 0 | 0 | DI52
66095 | 0 | 0 | DI53
66096 | 0 | 0 | DI54
66097 | 0 | 0 | DI55
66098 | 0 | 0 | DI56
66099 | 0 | 0 | DI57
66100 | 0 | 0 | DI58
66101 | 0 | 0 | DI59
66102 | 0 | 0 | DI60
66103 | 0 | 0 | DI61
66104 | 0 | 0 | DI62
66105 | 0 | 0 | DI63
66106 | 0 | 0 | DI64
66107 | 0 | 0 | DI65
66108 | 0 | 0 | DI66
66109 | 0 | 0 | DI67
66110 | 0 | 0 | DI68
66111 | 0 | 0 | DI69
66112 | 0 | 0 | DI70
66113 | 0 | 0 | DI71
66114 | 0 | 0 | DI72
66115 | 0 | 0 | DI73
66116 | 0 | 0 | DI74
66117 | 0 | 0 | DI75
66118 | 0 | 0 | DI76
66119 | 0 | 0 | DI77
66120 | 0 | 0 | DI78
66121 | 0 | 0 | DI79
66122 | 0 | 0 | DI80
66123 | 0 | 0 | DI81
66124 | 0 | 0 | DI82
66125 | 0 | 0 | DI83
66126 | 0 | 0 | DI84
66127 | 0 | 0 | DI85
66128 | 0 | 0 | DI86
66129 | 0 | 0 | DI87
66130 | 0 | 0 | DI88
66131 | 0 | 0 | DI89
66132 | 0 | 0 | DI90
66133 | 0 | 0 | DI91
66134 | 0 | 0 | DI92
66135 | 0 | 0 | DI93
66136 | 0 | 0 | DI94
66137 | 0 | 0 | DI95
66138 | 0 | 0 | DI96
66139 | 0 | 0 | DI97
66140 | 0 | 0 | DI98
66141 | 0 | 0 | DI99
66142 | 0 | 0 | DI100
66143 | 0 | 0 | DI101
66144 | 0 | 0 | DI102
66145 | 0 | 0 | DI103
66146 | 0 | 0 | DI104
66147 | 0 | 0 | DI105
66148 | 0 | 0 | DI106
66149 | 0 | 0 | DI107
66150 | 0 | 0 | DI108
66151 | 0 | 0 | DI109
66152 | 0 | 0 | DI110
66153 | 0 | 0 | DI111
66154 | 0 | 0 | DI112
66155 | 0 | 0 | DI113
66156 | 0 | 0 | DI114
66157 | 0 | 0 | DI115
66158 | 0 | 0 | Logical Output 33
66159 | 0 | 0 | Logical Output 34
66160 | 0 | 0 | Logical Output 35
66161 | 0 | 0 | Logical Output 36
66162 | 0 | 0 | Logical Output 37
66163 | 0 | 0 | Logical Output 38
66164 | 0 | 0 | Logical Output 39
66165 | 0 | 0 | Logical Output 40
66166 | 0 | 0 | Logical Output 41
66167 | 0 | 0 | Logical Output 42
66168 | 0 | 0 | Logical Output 43
66169 | 0 | 0 | Logical Output 44
66170 | 0 | 0 | Logical Output 45
66171 | 0 | 0 | Logical Output 46
66172 | 0 | 0 | Logical Output 47
66173 | 0 | 0 | Logical Output 48
66174 | 0 | 0 | Logical Output 49
66175 | 0 | 0 | Logical Output 50
66176 | 0 | 0 | Logical Output 51
66177 | 0 | 0 | Logical Output 52
66178 | 0 | 0 | Logical Output 53
66179 | 0 | 0 | Logical Output 54
66180 | 0 | 0 | Logical Output 55
66181 | 0 | 0 | Logical Output 56
66182 | 0 | 0 | Logical Output 57
66183 | 0 | 0 | Logical Output 58
66184 | 0 | 0 | Logical Output 59
66185 | 0 | 0 | Logical Output 60
66186 | 0 | 0 | Logical Output 61
66187 | 0 | 0 | Logical Output 62
66188 | 0 | 0 | Logical Output 63
66189 | 0 | 0 | Logical Output 64
66190 | 0 | 0 | ALARM 65
66191 | 0 | 0 | ALARM 66
66192 | 0 | 0 | ALARM 67
66193 | 0 | 0 | ALARM 68
66194 | 0 | 0 | ALARM 69
66195 | 0 | 0 | ALARM 70
66196 | 0 | 0 | ALARM 71
66197 | 0 | 0 | ALARM 72
66198 | 0 | 0 | ALARM 73
66199 | 0 | 0 | ALARM 74
66200 | 0 | 0 | ALARM 75
66201 | 0 | 0 | ALARM 76
66202 | 0 | 0 | ALARM 77
66203 | 0 | 0 | ALARM 78
66204 | 0 | 0 | ALARM 79
66205 | 0 | 0 | ALARM 80
66206 | 0 | 0 | ALARM 81
66207 | 0 | 0 | ALARM 82
66208 | 0 | 0 | ALARM 83
66209 | 0 | 0 | ALARM 84
66210 | 0 | 0 | ALARM 85
66211 | 0 | 0 | ALARM 86
66212 | 0 | 0 | ALARM 87
66213 | 0 | 0 | ALARM 88
66214 | 0 | 0 | ALARM 89
66215 | 0 | 0 | ALARM 90
66216 | 0 | 0 | ALARM 91
66217 | 0 | 0 | ALARM 92
66218 | 0 | 0 | ALARM 93
66219 | 0 | 0 | ALARM 94
66220 | 0 | 0 | ALARM 95
66221 | 0 | 0 | ALARM 96
66222 | 0 | 0 | ALARM 97
66223 | 0 | 0 | ALARM 98
66224 | 0 | 0 | ALARM 99
66225 | 0 | 0 | ALARM 100
66226 | 0 | 0 | ALARM 101
66227 | 0 | 0 | ALARM 102
66228 | 0 | 0 | ALARM 103
66229 | 0 | 0 | ALARM 104
66230 | 0 | 0 | ALARM 105
66231 | 0 | 0 | ALARM 106
66232 | 0 | 0 | ALARM 107
66233 | 0 | 0 | ALARM 108
66234 | 0 | 0 | ALARM 109
66235 | 0 | 0 | ALARM 110
66236 | 0 | 0 | ALARM 111
66237 | 0 | 0 | ALARM 112
66238 | 0 | 0 | ALARM 113
66239 | 0 | 0 | ALARM 114
66240 | 0 | 0 | ALARM 115
66241 | 0 | 0 | ALARM 116
66242 | 0 | 0 | ALARM 117
66243 | 0 | 0 | ALARM 118
66244 | 0 | 0 | ALARM 119
66245 | 0 | 0 | ALARM 120
66246 | 0 | 0 | ALARM 121
66247 | 0 | 0 | ALARM 122
66248 | 0 | 0 | ALARM 123
66249 | 0 | 0 | ALARM 124
66250 | 0 | 0 | ALARM 125
66251 | 0 | 0 | ALARM 126
66252 | 0 | 0 | ALARM 127
66253 | 0 | 0 | ALARM 128
66254 | 0 | 0 | I0x> START (forward)
66255 | 0 | 0 | I0x> TRIP (forward)
66256 | 0 | 0 | I0x> START (reverse)
66257 | 0 | 0 | I0x> TRIP (reverse)
66258 | 0 | 0 | I0x> BLOCKED
66259 | 0 | 0 | PFC switching on condition
66260 | 0 | 0 | Control mode
66261 | 0 | 0 | PFC> BLOCKED
66262 | 0 | 0 | Bank 1 discharging
66263 | 0 | 0 | Bank 2 discharging
66264 | 0 | 0 | Bank 3 discharging
66265 | 0 | 0 | Bank 4 discharging
66266 | 0 | 0 | Bank 5 discharging
66267 | 0 | 0 | Bank 1 switching failure
66268 | 0 | 0 | CTS2 ALARM
66269 | 0 | 0 | Cap+ starting
66270 | 0 | 0 | Cap+ request pulse
66271 | 0 | 0 | Cap- starting
66272 | 0 | 0 | Cap- request pulse
66273 | 0 | 0 | Auto/Manual status to mimic
66274 | 0 | 0 | AVR tap control status
66275 | 0 | 0 | AVR/block: Tap differential failure
66276 | 0 | 0 | AVR/block: Parallel communication failure
66277 | 0 | 0 | ICOL> [49OL] START (General)
66278 | 0 | 0 | ICOL> [49OL] TRIP (General)
66279 | 0 | 0 | ICOL> [49OL] BLOCKED
66280 | 0 | 0 | ICOL>> [49OL] START (General)
66281 | 0 | 0 | ICOL>> [49OL] TRIP (General)
66282 | 0 | 0 | ICOL>> [49OL] BLOCKED
66283 | 0 | 0 | CNU> [50UB] ALARM START
66284 | 0 | 0 | CNU> [50UB] ALARM ON
66285 | 0 | 0 | CNU> [50UB] START
66286 | 0 | 0 | CNU> [50UB] TRIP
66287 | 0 | 0 | CNU> [50UB] BLOCKED
66288 | 0 | 0 | IdLi> NOBIAS TRIP
66289 | 0 | 0 | IdLi> NOBIAS BLOCKED
66290 | 0 | 0 | IdLb> BIAS TRIP
66291 | 0 | 0 | IdLb> BIAS BLOCKED
66292 | 0 | 0 | HSO1 TCS input
66293 | 0 | 0 | HSO2 TCS input
66294 | 0 | 0 | HSO3 TCS input
66295 | 0 | 0 | HSO4 TCS input
66296 | 0 | 0 | HSO5 TCS input
66297 | 0 | 0 | HSO6 TCS input
66298 | 0 | 0 | HSO7 TCS input
66299 | 0 | 0 | HSO8 TCS input
66300 | 0 | 0 | HSO9 TCS input
66301 | 0 | 0 | LVRT START
66302 | 0 | 0 | LVRT TRIP
66303 | 0 | 0 | LVRT BLOCKED
66304 | 0 | 0 | PVPS Any line protection failure
66305 | 0 | 0 | PVPS Line comm failure
66306 | 0 | 0 | PVPS Synchronization lost
66307 | 0 | 0 | Demand blocked
#Double points
IOA | GI | GI_Group | Description
196609 | 0 | 0 | Object1 Breaker Status
196610 | 0 | 0 | Object2 Breaker Status
196611 | 0 | 0 | Object3 Breaker Status
196612 | 0 | 0 | Object4 Breaker Status
196613 | 0 | 0 | Object5 Breaker Status
196614 | 0 | 0 | Object6 Breaker Status
196615 | 0 | 0 | Object7 Breaker Status
196616 | 0 | 0 | Object8 Breaker Status
196617 | 0 | 0 | Object9 Breaker Status
196618 | 0 | 0 | Object10 Breaker Status
196619 | 0 | 0 | Ind.1 Object Status
196620 | 0 | 0 | Ind.2 Object Status
196621 | 0 | 0 | Ind.3 Object Status
196622 | 0 | 0 | Ind.4 Object Status
196623 | 0 | 0 | Ind.5 Object Status
196624 | 0 | 0 | Object1 Withdraw Status
196625 | 0 | 0 | Object2 Withdraw Status
196626 | 0 | 0 | Object3 Withdraw Status
196627 | 0 | 0 | Object4 Withdraw Status
196628 | 0 | 0 | Object5 Withdraw Status
196629 | 0 | 0 | Object6 Withdraw Status
196630 | 0 | 0 | Object7 Withdraw Status
196631 | 0 | 0 | Object8 Withdraw Status
196632 | 0 | 0 | Object9 Withdraw Status
196633 | 0 | 0 | Object10 Withdraw Status
196634 | 0 | 0 | Ind.6 Object Status
196635 | 0 | 0 | Ind.7 Object Status
196636 | 0 | 0 | Ind.8 Object Status
196637 | 0 | 0 | Ind.9 Object Status
196638 | 0 | 0 | Ind.10 Object Status
196639 | 0 | 0 | Ind.11 Object Status
196640 | 0 | 0 | Ind.12 Object Status
196641 | 0 | 0 | Ind.13 Object Status
196642 | 0 | 0 | Ind.14 Object Status
196643 | 0 | 0 | Ind.15 Object Status
196644 | 0 | 0 | Ind.16 Object Status
196645 | 0 | 0 | Ind.17 Object Status
196646 | 0 | 0 | Ind.18 Object Status
196647 | 0 | 0 | Ind.19 Object Status
196648 | 0 | 0 | Ind.20 Object Status
196649 | 0 | 0 | Phase-wise object Breaker Status A(L1)
196650 | 0 | 0 | Phase-wise object Breaker Status B(L2)
196651 | 0 | 0 | Phase-wise object Breaker Status C(L3)
196652 | 0 | 0 | Phase-wise object Withdraw Status
#Measured values
IOA | GI | GI_Group | Description
851969 | 0 | 0 | Pri.Pha.curr.IL1
851970 | 0 | 0 | Pha.angle IL1
851971 | 0 | 0 | Pri.Pha.curr.IL2
851972 | 0 | 0 | Pha.angle IL2
851973 | 0 | 0 | Pri.Pha.curr.IL3
851974 | 0 | 0 | Pha.angle IL3
851975 | 0 | 0 | f atm. Display (when not measurable is 0Hz)
851976 | 0 | 0 | Pri.Res.curr.I01
851977 | 0 | 0 | Pri.Res.curr.I02
851978 | 0 | 0 | System volt UL1 mag
851979 | 0 | 0 | System volt UL1 ang
851980 | 0 | 0 | System volt UL2 mag
851981 | 0 | 0 | System volt UL2 ang
851982 | 0 | 0 | System volt UL3 mag
851983 | 0 | 0 | System volt UL3 ang
851984 | 0 | 0 | System volt UL12 mag
851985 | 0 | 0 | System volt UL12 ang
851986 | 0 | 0 | System volt UL23 mag
851987 | 0 | 0 | System volt UL23 ang
851988 | 0 | 0 | System volt UL31 mag
851989 | 0 | 0 | System volt UL31 ang
851990 | 0 | 0 | System volt U0 mag
851991 | 0 | 0 | System volt U0 ang
851992 | 0 | 0 | POW1 3PH Active power (P)
851993 | 0 | 0 | POW1 3PH Reactive power (Q)
851994 | 0 | 0 | POW1 3PH Apparent power (S)
851995 | 0 | 0 | POW1 3PH Cos(phi)
851996 | 0 | 0 | Recorded fault value
851997 | 0 | 0 | Recorded fault value
851998 | 0 | 0 | Recorded fault value
851999 | 0 | 0 | Recorded fault value
852000 | 0 | 0 | Recorded fault value
852001 | 0 | 0 | Recorded fault value
852002 | 0 | 0 | Recorded fault value
852003 | 0 | 0 | Recorded fault value
852004 | 0 | 0 | Recorded fault value
852005 | 0 | 0 | Recorded fault value
852006 | 0 | 0 | Recorded fault value
852007 | 0 | 0 | Recorded fault value
852008 | 0 | 0 | Latest fault reactance
852009 | 0 | 0 | Latest fault distance
852010 | 0 | 0 | System volt U3 mag
852011 | 0 | 0 | System volt U4 mag
852012 | 0 | 0 | Pri.Pha.curr.I''L1
852013 | 0 | 0 | Pha.angle I''L1
852014 | 0 | 0 | Pri.Pha.curr.I''L2
852015 | 0 | 0 | Pha.angle I''L2
852016 | 0 | 0 | Pri.Pha.curr.I''L3
852017 | 0 | 0 | Pha.angle I''L3
852018 | 0 | 0 | S1 Measurement(Raw)
852019 | 0 | 0 | S2 Measurement(Raw)
852020 | 0 | 0 | S3 Measurement(Raw)
852021 | 0 | 0 | S4 Measurement(Raw)
852022 | 0 | 0 | S5 Measurement(Raw)
852023 | 0 | 0 | S6 Measurement(Raw)
852024 | 0 | 0 | S7 Measurement(Raw)
852025 | 0 | 0 | S8 Measurement(Raw)
852026 | 0 | 0 | S9 Measurement(Raw)
852027 | 0 | 0 | S10 Measurement(Raw)
852028 | 0 | 0 | S11 Measurement(Raw)
852029 | 0 | 0 | S12 Measurement(Raw)
852030 | 0 | 0 | S13 Measurement(Raw)
852031 | 0 | 0 | S14 Measurement(Raw)
852032 | 0 | 0 | S15 Measurement(Raw)
852033 | 0 | 0 | S16 Measurement(Raw)
852034 | 0 | 0 | S7 Measurement mA
852035 | 0 | 0 | S8 Measurement mA
852036 | 0 | 0 | S15 Measurement mA
852037 | 0 | 0 | S16 Measurement mA
852038 | 0 | 0 | Voltage now
852039 | 0 | 0 | Voltage difference to set target
852040 | 0 | 0 | POW1 3PH Tan(phi)
852041 | 0 | 0 | POW1 L1 Active power (P)
852042 | 0 | 0 | POW1 L1 Reactive power (Q)
852043 | 0 | 0 | POW1 L1 Apparent power (S)
852044 | 0 | 0 | POW1 L1 Cos(phi)
852045 | 0 | 0 | POW1 L1 Tan(phi)
852046 | 0 | 0 | POW1 L2 Active power (P)
852047 | 0 | 0 | POW1 L2 Reactive power (Q)
852048 | 0 | 0 | POW1 L2 Apparent power (S)
852049 | 0 | 0 | POW1 L2 Cos(phi)
852050 | 0 | 0 | POW1 L2 Tan(phi)
852051 | 0 | 0 | POW1 L3 Active power (P)
852052 | 0 | 0 | POW1 L3 Reactive power (Q)
852053 | 0 | 0 | POW1 L3 Apparent power (S)
852054 | 0 | 0 | POW1 L3 Cos(phi)
852055 | 0 | 0 | POW1 L3 Tan(phi)
852056 | 0 | 0 | Curve1 Output
852057 | 0 | 0 | Curve2 Output
852058 | 0 | 0 | Curve3 Output
852059 | 0 | 0 | Curve4 Output
852060 | 0 | 0 | Curve5 Output
852061 | 0 | 0 | Curve6 Output
852062 | 0 | 0 | Curve7 Output
852063 | 0 | 0 | Curve8 Output
852064 | 0 | 0 | Curve9 Output
852065 | 0 | 0 | Curve10 Output
852066 | 0 | 0 | IL1 harmonic demand
852067 | 0 | 0 | IL2 harmonic demand
852068 | 0 | 0 | IL3 harmonic demand
#Integrated totals
IOA | CI | CI_Group | Description
983041 | 0 | 0 | Internal Relay Fault status
983042 | 0 | 0 | Export Active Energy (P) kWh
983043 | 0 | 0 | Import Active Energy (P) kWh
983044 | 0 | 0 | Imported (Q) while Export (P) kVarh
983045 | 0 | 0 | Imported (Q) while Import (P) kVarh
983046 | 0 | 0 | Recordings in memory
983047 | 0 | 0 | Max amount of recordings
983048 | 0 | 0 | Active setting group
983049 | 0 | 0 | Tap location now (- 0 +)
983050 | 0 | 0 | Absolute tap location
983051 | 0 | 0 | DI1 Counter
983052 | 0 | 0 | DI2 Counter
983053 | 0 | 0 | DI3 Counter
983054 | 0 | 0 | DI4 Counter
983055 | 0 | 0 | DI5 Counter
983056 | 0 | 0 | DI6 Counter
983057 | 0 | 0 | DI7 Counter
983058 | 0 | 0 | DI8 Counter
983059 | 0 | 0 | DI9 Counter
983060 | 0 | 0 | DI10 Counter
983061 | 0 | 0 | DI11 Counter
983062 | 0 | 0 | DI12 Counter
983063 | 0 | 0 | DI13 Counter
983064 | 0 | 0 | DI14 Counter
983065 | 0 | 0 | DI15 Counter
983066 | 0 | 0 | DI16 Counter
983067 | 0 | 0 | DI17 Counter
983068 | 0 | 0 | DI18 Counter
983069 | 0 | 0 | DI19 Counter
983070 | 0 | 0 | DI20 Counter
983071 | 0 | 0 | DI21 Counter
983072 | 0 | 0 | DI22 Counter
983073 | 0 | 0 | DI23 Counter
983074 | 0 | 0 | DI24 Counter
983075 | 0 | 0 | DI25 Counter
983076 | 0 | 0 | DI26 Counter
983077 | 0 | 0 | DI27 Counter
983078 | 0 | 0 | DI28 Counter
983079 | 0 | 0 | DI29 Counter
983080 | 0 | 0 | DI30 Counter
983081 | 0 | 0 | DI31 Counter
983082 | 0 | 0 | DI32 Counter
983083 | 0 | 0 | DI33 Counter
983084 | 0 | 0 | DI34 Counter
983085 | 0 | 0 | DI35 Counter
983086 | 0 | 0 | DI36 Counter
983087 | 0 | 0 | DI37 Counter
983088 | 0 | 0 | DI38 Counter
983089 | 0 | 0 | DI39 Counter
983090 | 0 | 0 | DI40 Counter
983091 | 0 | 0 | DI41 Counter
983092 | 0 | 0 | DI42 Counter
983093 | 0 | 0 | DI43 Counter
983094 | 0 | 0 | DI44 Counter
983095 | 0 | 0 | DI45 Counter
983096 | 0 | 0 | DI46 Counter
983097 | 0 | 0 | DI47 Counter
983098 | 0 | 0 | DI48 Counter
983099 | 0 | 0 | DI49 Counter
983100 | 0 | 0 | DI50 Counter
983101 | 0 | 0 | DI51 Counter
983102 | 0 | 0 | DI52 Counter
983103 | 0 | 0 | DI53 Counter
983104 | 0 | 0 | DI54 Counter
983105 | 0 | 0 | DI55 Counter
983106 | 0 | 0 | DI56 Counter
983107 | 0 | 0 | DI57 Counter
983108 | 0 | 0 | DI58 Counter
983109 | 0 | 0 | DI59 Counter
983110 | 0 | 0 | DI60 Counter
983111 | 0 | 0 | DI61 Counter
983112 | 0 | 0 | DI62 Counter
983113 | 0 | 0 | DI63 Counter
983114 | 0 | 0 | DI64 Counter
983115 | 0 | 0 | DI65 Counter
983116 | 0 | 0 | DI66 Counter
983117 | 0 | 0 | DI67 Counter
983118 | 0 | 0 | DI68 Counter
983119 | 0 | 0 | DI69 Counter
983120 | 0 | 0 | DI70 Counter
983121 | 0 | 0 | DI71 Counter
983122 | 0 | 0 | DI72 Counter
983123 | 0 | 0 | DI73 Counter
983124 | 0 | 0 | DI74 Counter
983125 | 0 | 0 | DI75 Counter
983126 | 0 | 0 | DI76 Counter
983127 | 0 | 0 | DI77 Counter
983128 | 0 | 0 | DI78 Counter
983129 | 0 | 0 | DI79 Counter
983130 | 0 | 0 | DI80 Counter
983131 | 0 | 0 | DI81 Counter
983132 | 0 | 0 | DI82 Counter
983133 | 0 | 0 | DI83 Counter
983134 | 0 | 0 | DI84 Counter
983135 | 0 | 0 | DI85 Counter
983136 | 0 | 0 | DI86 Counter
983137 | 0 | 0 | DI87 Counter
983138 | 0 | 0 | DI88 Counter
983139 | 0 | 0 | DI89 Counter
983140 | 0 | 0 | DI90 Counter
983141 | 0 | 0 | DI91 Counter
983142 | 0 | 0 | DI92 Counter
983143 | 0 | 0 | DI93 Counter
983144 | 0 | 0 | DI94 Counter
983145 | 0 | 0 | DI95 Counter
983146 | 0 | 0 | DI96 Counter
983147 | 0 | 0 | DI97 Counter
983148 | 0 | 0 | DI98 Counter
983149 | 0 | 0 | DI99 Counter
983150 | 0 | 0 | DI100 Counter
983151 | 0 | 0 | DI101 Counter
983152 | 0 | 0 | DI102 Counter
983153 | 0 | 0 | DI103 Counter
983154 | 0 | 0 | DI104 Counter
983155 | 0 | 0 | DI105 Counter
983156 | 0 | 0 | DI106 Counter
983157 | 0 | 0 | DI107 Counter
983158 | 0 | 0 | DI108 Counter
983159 | 0 | 0 | DI109 Counter
983160 | 0 | 0 | DI110 Counter
983161 | 0 | 0 | DI111 Counter
983162 | 0 | 0 | DI112 Counter
983163 | 0 | 0 | DI113 Counter
983164 | 0 | 0 | DI114 Counter
983165 | 0 | 0 | DI115 Counter
983166 | 0 | 0 | ParallelTransfModeKind
#Single commands
IOA | Description
2949121 | Reset Latches
2949122 | Logical Input 1
2949123 | Logical Input 2
2949124 | Logical Input 3
2949125 | Logical Input 4
2949126 | Logical Input 5
2949127 | Logical Input 6
2949128 | Logical Input 7
2949129 | Logical Input 8
2949130 | Logical Input 9
2949131 | Logical Input 10
2949132 | Logical Input 11
2949133 | Logical Input 12
2949134 | Logical Input 13
2949135 | Logical Input 14
2949136 | Logical Input 15
2949137 | Logical Input 16
2949138 | Logical Input 17
2949139 | Logical Input 18
2949140 | Logical Input 19
2949141 | Logical Input 20
2949142 | Logical Input 21
2949143 | Logical Input 22
2949144 | Logical Input 23
2949145 | Logical Input 24
2949146 | Logical Input 25
2949147 | Logical Input 26
2949148 | Logical Input 27
2949149 | Logical Input 28
2949150 | Logical Input 29
2949151 | Logical Input 30
2949152 | Logical Input 31
2949153 | Logical Input 32
2949154 | PCS1 Switch Status
2949155 | PCS2 Switch Status
2949156 | PCS3 Switch Status
2949157 | PCS4 Switch Status
2949158 | PCS5 Switch Status
2949159 | Control mode
#Double commands
IOA | Description
3014657 | OBJECT1 CTRL
3014658 | OBJECT2 CTRL
3014659 | OBJECT3 CTRL
3014660 | OBJECT4 CTRL
3014661 | OBJECT5 CTRL
3014662 | OBJECT6 CTRL
3014663 | OBJECT7 CTRL
3014664 | OBJECT8 CTRL
3014665 | OBJECT9 CTRL
3014666 | OBJECT10 CTRL
3014667 | OBJECT S1 CTRL